LEAK REPORT:

Leak #:  										         (FORM PS-95/Rev. 4-17-09)

Date Leak Reported:  				Time Leak Reported:  			Leak Origination:

Time Dispatched:  				Time of Arrival:

Street Address:  							Facility Installation Date:

City/County:  							One-Call Locate Ticket Number:

LEAK LOCATION:

1.  Leak Located:					4.

Above Ground		Below Ground			Located on:				Located at:

Valve		Riser			Meter Assembly								Pipe		Regulator		Odorizer

2.  Facility Type:	3.  Pipe Size:   (Circle One)	Stopcock	Meter			Regulator Station

Main					IPS/CTS		Fitting	Drip			Compressor Station

Service				IPS/CTS		Joint		Tap			Not Applicable

Transmission				IPS/CTS		Gauge Line	 Compression Coupling

5. Material Type at Leak:									6.  Leak Classification:

Bare Steel			Galvanized		HDPE (5a, 5b)			Grade 1

Coated Steel			Copper		MDPE (5a, 5b			Grade 2

Ductile Iron			Brass			PVC	   (5a, 5b)		Grade 3

Cast Iron			Aldyl Poly.                      Other (List)

7.  Type of Leaking Joint:

Factory Butt Weld (Steel)	Threaded		Butt Fusion (Plastic)		Sidewall Fusion (Plastic)

Factory Fillet Weld (Steel)	Mech. Joint		Socket Fusion (Plastic)		Not Applicable

Field Butt Weld (Steel)		Bell & Spigot		Saddle Fusion (Plastic)		Aldyl Polyethylene

Field Fillet Weld (Steel)	Flange 		Electrofusion (Plastic)

8.  Type of Leaking Fitting:

Mech. Service Tee		Threadolets/Weldolets/Sockolets		Coupling-Metal	Meter Swivel

Heat Fusion Service Tee	Plugs/Caps				Coupling-Plastic	Union

Electrofusion Service Tee	Elbow				Transition Fitting	Insulator

Welded Service Tee		Nipple				Split Sleeve

Saddle Fitting			Tee					Leak Clamp

Service Tee Cap		Diaphragm				Bell Joint Clamp

Anodeless Meter Riser		Other Meter Riser			Other (Explain)

LEAK CAUSE:

9.  Leak Causes:			10.  Excavation:						11.  Material & Welds:

Corrosion			Operator Personnel/Contractors Excavating		Dent

Excavation			Other Excavators					Gouge

Natural Forces			Locator						Factory Defect

Other Outside Forces		Vehicle (Auto/Truck/Car/etc.)				Wrinkle Bend

Material & Welds		Other Power Equipment (Backhoe/Mower/etc.)		Weld (Steel)

Equipment			     (List)  						Fusion (Plastic)

Operations										        Cold Fusion

Other					 					                       Fusion (Other)

12.  Natural Forces:						13.  Other Outside Forces:

Lightning							Vandalism

Washout							Fire/Explosion First

Ground Movement						Other Heat Source (Explain)

Ice

Other (Explain)

LEAK CAUSE (continued):

14.  Equipment:			15.  Operations:					16.  Other:

Equipment Malfunction		Inadequate/Failure to Follow Procedures		Explain:

Gasket/O-Ring		Stripped Threads

Packing			Loose Connection

Doping/Caulking		Other Operator Error (Explain in Remarks)

LEAK REPAIR METHOD:

17.  Leak Repair Method:

Clamp Installed		Greasing			If Replaced Or Abandoned, Give Reason(s) Why.

Split Sleeve			Doped/Caulked

Encapsulation 			Tighten

Component Replaced		Sealing Bell & Spigot Joint								   Pipe Replaced

New Pipe Size:  		  in.

Footage Installed:  	  ft.

Abandoned and NOT replaced

18.  Test Info:

Pressure			Duration			Medium

10 psig		10 minutes		Air

90 psig		1 hour		Water

225 psig		24 hours		Gas

Other			Other			Nitrogen

Soap Test

Conducted by:  					Other

Date:

Remarks:

Repaired By: 								Repair Date:

# Text boxes

Leak Location Sketch

19.

5. (a)  Pipe  Manufacturer Code  Table  (High Density PE,  Medium  Density  PE or  PVC) :

(  PP1  PolyPipe

(  PP2  PolyPipe, Inc.

(  PP3  CSR PolyPipe

(  RK1  Rinker

(  PF1  Perform.  Pipe

(  PX1  Plexco

(  DC1  Driscopipe

(  QU1  Quail

(  UP1  Uponorr

(  NP1  Nipak

5. (b) ASTM Code Lookup Table (HDPE, MDPE, or PVC)

(  (PA1)  Polyamide PA 32312                    (  (PB1)  Polybutylene PB 2110

(  (PE1)  Polyethylene PE 2306                   (  (PE2)  Polyethylene PE 2406

(  (PE3)  Polyethylene PE 3406                   (  (PE4)  Polyethylene PE 3408

(  (PV1)  Poly. Chloride PVC 1120             ( (PV2)  Poly. Chloride PVC 1220

(  (PV3)  Polyvinyl Chloride PVC 2110      ( (PV4)  Poly. Chloride PVC 2116

(  (ABS)  Acrylonitrile Butadiene Styrene ABS 1210

(  (CA1)  Cellulose Acetate Butyrate CAB MH08

(  (CA2)  Cellulose Acetate Butyrate CAB S004

(  (RTR)  Reinforced Epoxy Resin RTPR

(  (OTH)  Other Material Designation

( Aldyl Polyethylene

4. (a) If Located on Compression Coupling:

Material used:

- Steel

- Plastic

Date Installed:

___/___/____